# Routine Preventive Maintenance Calendar – Worksheet 1

| Inspection/Maintenance Procedure | Frequency | Who Should Do this? |
| --- | --- | --- |
| Playground Equipment: Inspect for loose, cracked parts, sharp edges, rot & fall protection. |  |  |
| Crawlspaces, concrete foundations: Inspect for dampness, vermin, inspect beams and posts for rot. Inspect foundations for cracks, shifting, and water damage. |  |  |
| Masonry Veneer: Inspect for efflorescence (white powder), inspect sealants. |  |  |
| Flat Roofs: Inspect for ponding and plugged drains. |  |  |
| Flat Roofs: Inspect loose flashing, air pockets, blisters & debris. |  |  |
| Inspection/Maintenance Procedure | Frequency | Who Should Do this? |
| Door Handles, Hinges and Closures: Check hardware for proper function, check and test fire exit hardware. |  |  |
| Residential Appliances: Check fridge seals and drain tubes. Check stove burners and wires for electrical shorting or grease build up. Check hood fans for filters, venting, grease build up and fire hazards. |  |  |
| Elevators: Have an elevator contractor service and maintain the elevator equipment. |  |  |
| Boiler - Large Building: Visual Inspection |  |  |
| Boiler - Large Building: Preventative maintenance servicing, including visual inspection, all operational testing of controls and safety switches Adjust for seasonal temperatures. |  |  |